## MADANAHALLI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VADDARAPALYA | SGSL22 | UN METERED | 1.04 | 0 | 0 | 0 | 1 | 20 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VADDARAPALYA | SGSL48 | METERED | 9.4 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MULLAHALLI | MHSL1 | UN METERED | 1.86 | 200W | 0 | 0 | 0 | 15 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MULLAHALLI BUS STOP | SGSL10 | UN METERED | 0.45 | 0 | 0 | 0 | 1 | 16 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | SHETTIMADAMANGALA | SGSL25 | METERED | 1.41 | 200W | 0 | 0 | 0 | 25 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VADDARAPALYA COLONY | SGSL21 | METERED | 1.04 | 0 | 0 | 0 | 0 | 21 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURRE | SGSL75 | UN METERED | 0.41 | 200W | 0 | 0 | 0 | 22 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI SCHOOL | SGSL18 | UN METERED | 1.74 | 200W | 0 | 0 | 1 | 21 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
9 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | SHETTIMADANGALA | SGSL24 | MNR | 0.85 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
10 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURRE | SGSL27 | UN METERED | 0.72 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
11 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL13 | METERED | 2.33 | 200W | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
12 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL15 | METERED | 1.52 | 0 | 0 | 0 | 0 | 20 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
13 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL67 | UN METERED | 0.88 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
14 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURE | SGSL74 | METERED | 0.69 | 0 | 0 | 0 | 0 | 23 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
15 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURRE | SGSL73 | UN METERED | 0.2 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
16 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL14 | METERED | 1.13 | 0 | 0 | 0 | 0 | 25 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
17 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MULLAHALLI | SGSL11 | METERED | 1.22 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
18 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | SHETTYMADAMANGALA | SGSL26 | UN METERED | 1.57 | 0 | 0 | 0 | 0 | 20 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
19 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | SHETTIMADAMANGALA | SMSL1 | METERED | 1.61 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
20 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURE | SGSL76 | MNR | 0.2 | 0 | 0 | 0 | 0 | 21 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
21 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL16 | METERED | 1.36 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
22 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | MADANAHALLI | SGSL17 | UN METERED | 1.74 | 0 | 0 | 0 | 0 | 25 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
23 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURE | MHSL1A | UN METERED | 1.87 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
24 | KOLAR | R.S.D | SUGATURU | MADANAHALLI | VELAGALABURRE | VVSL1 | METERED | 1.1 | 0 | 0 | 0 | 0 | 26 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## JANAGATTA
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | GOTTAHALLI | SGSL59 | METERED | 2.01 | 200W | 0 | 0 | 2 | 20 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANNAGATTA | SGSL68 | METERED | 1.04 | 200W | 0 | 0 | 0 | 21 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | GOWDAHALLI | SGSL42 | METERED | 1.49 | 0 | 0 | 0 | 0 | 35 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANNAGATTA | SGSL69 | UN METERED | 0.64 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANNAGATTA | SGSL70 | UN METERED | 4 | 0 | 0 | 0 | 2 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | BHOMMASANDRA | SGSL41 | METERED | 2.4 | 0 | 0 | 0 | 0 | 20 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANNAGATTA | SGSL71 | UN METERED | 2.25 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANGAMAGURJENAHALLI | SGSL64 | METERED | 3.6 | 200W | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
9 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | JANNAGATTA | JSL1 | METERED | 2.3 | 0 | 0 | 0 | 1 | 15 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
10 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | ECHALA DINNURU | SGSL51 | METERED | 3 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
11 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | KALLURU | SGSL65 | METERED | 2.92 | 200W | 0 | 0 | 0 | 15 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
12 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | GOTTAHALLI | SGSL58 | METER NOT WORKING | 2.08 | 0 | 0 | 0 | 1 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
13 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | THURANDAHALLI | JSL3B | UN METERED | 3.2 | 0 | 0 | 0 | 0 | 20 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
14 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | THURANDAHALLI | JSL6 | METERED | 1.48 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
15 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | KALLURU | KLST1 | M N R | 4 | 0 | 0 | 0 | 2 | 14 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
16 | KOLAR | R.S.D | SUGATURU | JANNAGATTA | GOTTAHALLI | SGSL60 | METERED | 2.16 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## URIGILI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGATURU | URIGILI | HANUMANTHAPURA | SGSL78 | METERED | 1.72 | 0 | 0 | 0 | 1 | 20 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGATURU | URIGILI | BYAPPANAHALLI | SGSL80 | METERED | 1.22 | 0 | 0 | 0 | 0 | 24 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGATURU | URIGILI | BYAPPANAHALLI | BPST1 | METERED | 1.32 | 0 | 0 | 0 | 0 | 20 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGATURU | URIGILI | MADAVAGURJENAHALLI | SGSL40 | METERED | 3.74 | 0 | 0 | 0 | 1 | 10 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | RSD | SUGATURU | URIGILI | MADAVAGURJENAHALLI | SGSL81 | METERED | 1.16 | 0 | 0 | 0 | 0 | 26 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | RSD | SUGATURU | URIGILI | UPPUKUNTE | SGSL77 | METERED | 1.84 | 200W | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | RSD | SUGATURU | URIGILI | UPPUKUNTE | SGSL79 | METERED | 1.36 | 0 | 0 | 0 | 2 | 25 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | RSD | SUGATURU | URIGILI | BYAPPANAHALLI | SGSL82 | METERED | 1.44 | 0 | 0 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## MUDUVADI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGATURU | MUDUVADI | ARINAGANAHALLI | SGSL66 | METERED | 1.65 | 0 | 0 | 0 | 2 | 30 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGATURU | MUDUVADI | VANARASI | SGSL61 | METERED | 1.9 | 0 | 0 | 0 | 3 | 40 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGATURU | MUDUVADI | VANARASI | SGSL62 | METERED | 2.61 | 200W | 0 | 0 | 3 | 49 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGATURU | MUDUVADI | ARINAGANAHALLI | ARST1 | METERED | 5.62 | 0 | 0 | 0 | 1 | 65 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## MADDERI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGATURU | MADDERI | JAMBAPURA | SGSL19 | UN METERED | 1.41 | 200W | 0 | 0 | 3 | 25 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGATURU | MADDERI | KADARIPURA | SGSL29 | METERED | 1.25 | 0 | 0 | 0 | 1 | 29 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGATURU | MADDERI | PACHARLAHALLI | SGSL23 | METERED | 2KW | 0 | 0 | 0 | 2 | 32 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGATURU | MADDERI | SEETHAPPANAHALLI | SGSL52 | METERED | 2 | 0 | 0 | 0 | 4 | 35 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | RSD | SUGATURU | MADDERI | IRAGASANDRA | VSL26 | METERED | 2 | 0 | 0 | 0 | 3 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | RSD | SUGATURU | MADDERI | KADARIPURA | VSL27 | METERED | 1.25 | 0 | 0 | 0 | 1 | 30 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | RSD | SUGATURU | MADDERI | JAMBAPURA | SGSL49 | METERED | 3.63 | 200W | 0 | 0 | 2 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | RSD | SUGATURU | MADDERI | PACHARLAHALLI | SGSL46 | METERED | 2 | 0 | 0 | 0 | 1 | 30 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
9 | KOLAR | RSD | SUGATURU | MADDERI | PINDIPAPANAHALI | SGSL54 | METERED | 2 | 0 | 0 | 0 | 0 | 25 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## TD HALLI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | THORADEVANDAHALLI | JSL3(D) | METERED | 5.75 | 200W | 0 | 0 | 6 | 70 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | BEERAMANAHALLI | JSL4(A) | METERED | 4.45 | 0 | 0 | 0 | 4 | 52 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | THORADEVANDAHALLI | JSL6(C) | UN METERED | 0.24 | 0 | 0 | 0 | 0 | 25 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | VEERAPURA | SGSL72 | UN METERED | 1.33 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | VEERAPURA | JSL2(B) | METERED | 3.83 | 0 | 0 | 0 | 2 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | YADAHALLI | JSL1D | UN METERED | 3.8 | 0 | 0 | 0 | 2 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | RSD | SUGATURU | THORADEVANDAHALLI | THORADEVANDAHALLI | KRSL92 | METERED | 1.02 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## THOTLI
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGATURU | THOTLI | KAKINATHA | KNSL1 | METERED | 1.53 | 0 | 0 | 0 | 1 | 28 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGATURU | THOTLI | KEMBHATHANAHALLI | KBST1 | METERED | 1.28 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGATURU | THOTLI | THOTLY | SGSL38 | METERED | 1.54 | 0 | 0 | 0 | 1 | 25 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGATURU | THOTLI | CHITNAHALLI | SGSL37 | METERED | 1.32 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | RSD | SUGATURU | THOTLI | URATIAGRAHARA | SGSL63 | METERED | 2.32 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | RSD | SUGATURU | THOTLI | KAKINATHA | SGSL56 | METERED | 1.32 | 200W | 0 | 0 | 1 | 25 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | RSD | SUGATURU | THOTLI | ALERI | SGSL28 | METERED | 1.89 | 200W | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | RSD | SUGATURU | THOTLI | CHITNAHALLI | SGSL35 | METERED | 1.13 | 0 | 0 | 0 | 0 | 30 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
9 | KOLAR | RSD | SUGATURU | THOTLI | CHITNAHALLI | SGSL36 | METERED | 2.6 | 0 | 0 | 0 | 5 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
10 | KOLAR | RSD | SUGATURU | THOTLI | KITHANDURU | SGSL44 | METERED | 2.05 | 0 | 0 | 0 | 0 | 21 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
11 | KOLAR | RSD | SUGATURU | THOTLI | THOTLY | SGSL83 | METERED | 2.2 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
12 | KOLAR | RSD | SUGATURU | THOTLI | THOTLY | THSL1 | METERED | 2.32 | 0 | 0 | 0 | 2 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
13 | KOLAR | RSD | SUGATURU | THOTLI | THOTLY | SGSL55 | METERED | 1.24 | 0 | 0 | 0 | 0 | 25 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
14 | KOLAR | RSD | SUGATURU | THOTLI | SHETTY KUNTE | SGSL45 | METERED | 1.72 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
15 | KOLAR | RSD | SUGATURU | THOTLI | KITHANDURU | SGSL50 | METERED | 2.8 | 0 | 0 | 0 | 1 | 30 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
16 | KOLAR | RSD | SUGATURU | THOTLI | SHETTY KUNTE | SGSL57 | METERED | 1.8 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
17 | KOLAR | RSD | SUGATURU | THOTLI | ALERI | VHSL1 | METERED | 2.48 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
18 | KOLAR | RSD | SUGATURU | THOTLI | CHITNAHALLI | VLSL1 | METERED | 1.36 | 0 | 0 | 0 | 0 | 21 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING

## SUGATURU
STATEMENT OF THE STREET LIGHT INVENTRY FOR THE YEAR 2025-26
SL NO | DIVISION | SUB DIVISION | SECTION | PANCHAYATH | VILLAGE | RR NO | METERED / UN METERED | Connected Load (KVA) | LED HIGHMAST | LED |  |  |  |  | INCANDESCENT BULB |  |  | SODIUM |  | MERCURY |  | TUBE LIGHT |  | HALOGEN |  | REMARKS
[9 empty] | WATTS | 500W | 150W | 100W | 25W | 12W | 200W | 100W | 60W
1 | KOLAR | RSD | SUGUTUR | SUGUTUR | MATNAHALI | SGSL30 | METERED | 2.05 | 200W | 0 | 0 | 0 | 25 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
2 | KOLAR | RSD | SUGUTUR | SUGUTUR | MATNAHALI | VMSTL1 | METERED | 3.48 | 0 | 0 | 0 | 2 | 24 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
3 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL7 | METERED | 0.9 | 200W | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
4 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL8 | METERED | 3.12 | 0 | 0 | 0 | 3 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
5 | KOLAR | RSD | SUGUTUR | SUGUTUR | MATNAHALI | SGSL31 | METERED | 1.66 | 0 | 0 | 0 | 0 | 25 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
6 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL32 | METERED | 1.2 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
7 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL2 | METERED | 1.33 | 200W | 0 | 0 | 2 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
8 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATUR | SGSL1 | METERED | 2.32 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
9 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATUR | SGSL6 | METERED | 6.35 | 0 | 0 | 0 | 5 | 45 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
10 | KOLAR | RSD | SUGUTUR | SUGUTUR | ANKATHATTI | SGSL34 | METERED | 2.45 | 200W | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
11 | KOLAR | RSD | SUGUTUR | SUGUTUR | HOSAMATNAHALLI | SGSL33 | METERED | 1.24 | 0 | 0 | 0 | 2 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
12 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL3 | METERED | 1.74 | 0 | 0 | 0 | 0 | 25 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
13 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL4 | METERED | 1.8 | 0 | 0 | 0 | 1 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
14 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATURU | SGSL5 | METERED | 2.49 | 0 | 0 | 0 | 4 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
15 | KOLAR | RSD | SUGUTUR | SUGUTUR | ANKATHATTI | VASL1 | METERED | 2.92 | 0 | 0 | 0 | 5 | 32 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING
16 | KOLAR | RSD | SUGUTUR | SUGUTUR | SUGATUR | VSL3 | METERED | 1.49 | 0 | 0 | 0 | 2 | 25 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RUNNING